## device_classification_fields
Section | Field Name | Type | Description
| manufacturer | string | Name of manufacturer or company that makes this product.
| device | string | This is the proprietary name, or trade name, of the cleared device.
| date_performed | date | This is the date the test was performed.
| evaluation_id | string | The unique identifier for each evaluation.
| lot_number | string | The manufacturer's unique identification of the lot(s) from which the tested devices were drawn.
| panel | string | The testing program's unique identification of the panel of clinical samples against which the devices were tested.
| sample_no | integer | The sequence in which the sample was tested.
| sample_id | string | The unique ID of the sample in the panel.
| type | string | The sample material.
| group | string | Describes the portion of the panel the sample was from. E.g. "Positives," "Negatives," "HIV+", "Respiratory panel," etc.
| days_from_symptom | string | Days from symptom onset to blood collection.
| igm_result | string | The test result for qualitative detection of IgM antibodies.
| igg_result | string | The test result for qualitative detection of IgG antibodies.
| iga_result | string | The test result for qualitative detection of IgA antibodies.
| pan_result | string | The test result for qualitative detection of Pan-Ig antibodies.
| igm_igg_result | string | The test result for qualitative detection of (IgM / IgG) combined antibodies.
| igm_iga_result | string | The test result for qualitative detection of (IgM / IgA) combined antibodies.
| control | string | The result of the control line on the test.
| igm_titer | integer | The CDC spike titer for IgM in the sample.
| igg_titer | integer | The CDC spike titer for IgG in the sample.
| pan_titer | integer | The CDC spike titer for Pan-Ig in the sample.
| igm_truth | string | The true qualitative IgM result.
| igg_truth | string | The true qualitative IgG result.
| antibody_truth | string | The true qualitative antibody presence result.
| igm_agree | string | Agreement between igm_result and igm_truth.
| igg_agree | string | Agreement between igg_result and igg_truth.
| iga_agree | string | Agreement between iga_result and antibody_truth.
| pan_agree | string | Agreement between pan_result and antibody_truth.
| igm_igg_agree | string | Agreement between igm_igg_result and antibody_truth.
| igm_iga_agree | string | Agreement between igm_iga_result and antibody_truth.
| antibody_agree | string | Agreement between all antibody results and antibody_truth. Any positive makes the result positive. All results must be negative for the overall result to be considered negative.